## Slide 1
E. Mark Haacke, PhD
Ruijin Hospital, School of Medicine
Shanghai Jiao Tong University
Wayne State University
AVAST: Artery, Vein And Susceptibility Technology
A one stop method for imaging cerebrovascular disease

## Slide 2
AVAST: Clinical Necessity
MRA and SWI are key tools in imaging cerebrovascular diseases such as stroke, traumatic brain injury and dementia to name a few key diseases.
AVAST is a single slab, dual echo sequence that offers the ability to make imaging these diseases more efficient and more quantitative by simultaneously collecting: MRA, MRV, SWI, R2* and QSM
as well as imaging vessel wall plaque.

## Slide 3
AVAST: one-stop scanning for angiographic imaging
MRV:
thrombus
SWI: microbleeds
QSM: oxygen saturation
Vessel wall and lumen
STAGE: qMRI
Plaque characteristics
MRA:
stenoses
Up to this point, just one AVAST high flip angle 4-5 min scan
An additional AVAST low flip angle 4-5 min scan
AVAST

## Slide 4
AVAST Architecture
A single RF excitation supports two separately controlled readouts. Slide thanks to Wang Qin from Fudan University.
FC (Flow Compensation): bright-blood angiography
FD (Flow Dephasing): dephased blood signal for small-vessel enhancement and SWI/MRA processing
The Venc is set to 5cm/sec, so blood flow faster than this will tend to completely diphase depending on vessel size.
Notes: First, let’s look at the sequence structure. Two readouts are acquired after each RF excitation. Echo 1 uses flow compensation and a short TE to maintain high vascular signal. Echo 2 applies adjustable bipolar gradients before the readout to dephase flowing blood and generate black-blood contrast. Its longer TE also provides susceptibility contrast. The TE and bandwidth of each echo can be set independently, and the strength of the FD gradients can also be adjusted.

## Slide 5
AVAST ΔS = S(TE1)-aS(TE2) where a = exp(ΔTE/T2*)
MIPs/mIPs over 19.2mm from two different slice locations in the same subject from 3T data.
conventional TOF = cTOF
ΔTE = TE2 – TE1
MIP S(TE1)
mIP S(TE2)
MIP ΔS
MIP cTOF

## Slide 6
ΔS++MRA
Add to 2S(TE1)
STE1
STE2
𝑆(𝑇𝐸1) 𝐹𝐶 − 𝑎⋅ 𝑆(𝑇𝐸2)
SWI
Subtraction
Partial Processing Pipeline
TE1 = 2.78 no flow compensation ranging from 3.81ms to 5.17ms for flow compensatation depending on resolution
TE2 = 15ms, TR = 20-24ms with FA =10o.

## Slide 7
Major Challenges in processing AVAST data
Separating arteries from veins: The AVAST subtraction image shows all vessels, it is similar to the problem of having a contrast agent; arteries and veins must be separated. The SWI mask can be used to suppress the veins from the subtracted AVAST image leaving just arteries, including major and small arteries.
Creating the proper SWI: Alternatively, the SWI created from the second echo can have the arteries removed using a dilated overlay of the MRA from the first echo.
Preparing for 3D display: After these steps, vessel tracking can be performed, followed by 3D visualization of both arteries and veins separately.

## Slide 8
A comparison of ΔS(TE1,TE2) showing all vessels (left image), SWI after removal of arteries (second image), ΔSart(TE1,TE2) showing only arteries (third image) and the conventional TOF (far right image).
Comparing AVAST, SWI, MRA, and cTOF
Images courtesy of Ruixi Li and Lejia Huang from Shanghai Ruijin Hospital
AVAST ΔS
AVAST SWI
AVAST MRA
cTOF

## Slide 9
Introducing a contrast deposition image for BBB breakdown
Images courtesy of Yifan Lv and Dr. Yu Luo from Shanghai Fourth Hospital
AVAST provides post-contrast blood brain barrier leakage via MIP of S(TE2) since vessels are otherwise dark in S(TE2)
FLAIR
NEW image:
Gd deposition

## Slide 10
Introducing AVAST CMB from pre-post contrast:
Using ΔSpost-pre to suppress all vasculature
MIP of high pass filtered phase S(TE2) showing bright CMBs and veins similar to QSM.
Resulting image after removing the vessels using ΔSpost-pre.
mIP of SWI images, showing CMBs, CSF and veins as hypointense structures, which can make CMBs difficult to find.
CMBs are now clearly differentiated from the background tissue in (B).
A
B
C
MIP over 8 slices
MIP over 8 slices
mIP over 8 slices
Images courtesy of Yifan Lv and Dr. Yu Luo from Shanghai Fourth Hospital

## Slide 11
5T-3T comparison of LSA visibility and blurring for various resolutions
Practically there are far more 3T scanners in the world than the hundred or so 5 or 7T scanners.
So, a key question is: “Can we still get sufficient LSA definition even at 3T?” If so, what resolution is required? If a contrast agent is used, the vessel signal increasesd by a factor of roughly 3.
LSA = lenticulostriate artery
In this particular case, we see that the major peripheral larger LSAs can be seen even with 0.35mm x 0.5mm at 3T. However, at 5T, we see sharper definition and more LSAs.
3T at 0.35×0.35mm2
3T at 0.35×0.5mm2
5T at 0.35×0.35mm2
Images courtesy of Ruixi Li and Lejia Huang from Shanghai Ruijin Hospital
4min 17sec
3min
4min 49sec

## Slide 12
Pre-post contrast 3T visualization of the LSAs
Images courtesy of Yifan Lv and Dr. Yu Luo from Shanghai Fourth Hospital
Pre-contrast AVAST
Post-contrast AVAST

## Slide 13
What can AVAST do for clinical interpretation?
APCVs
SWI in stroke: Visualizing the presence of microbleeds (CMBs), too many may affect treatment by suggesting that tPA not be administered.
SWI in stroke: Visualizing Asymmetrically Prominent Cortical Veins (APCVs). These show the presence of reduced flow and increased deoxyhemoglobin.
QSM in stroke: Visualizing thrombus, discriminating CMBs from calcium and potentially mapping oxygen saturation in veins.
CMBs = cerebral microbleeds
CMBs

## Slide 14
One of the advantages of the short echo is that high susceptibility weighted regions such as thrombus will show clearly but the smaller veins will not be so obvious.
This makes it easier to determine what is blood and what is thrombus.
Such an example is shown by the arrows in the above figures.
Differentiating thrombus from veins using dual echo AVAST
Long TE SWI
Short TE SWI
QSM
TOF MRA
Images courtesy of Yifan Lv and Dr. Yu Luo from Shanghai Fourth Hospital

## Slide 15
Differentiating thrombus from other forms of plaque with AVAST
Images courtesy of Yifan Lv and Dr. Yu Luo from Shanghai Fourth Hospital
Case 1

## Slide 16
Differentiating thrombus from other forms of plaque with AVAST
Images courtesy of Yifan Lv and Dr. Yu Luo from Shanghai Fourth Hospital
Case 2

## Slide 17
Example MCA obstruction
MRV
MRAV
MRA

## Slide 18
Conclusions and Future Directions
AVAST provides a rapid, efficient, single-scan multi-contrast fusion of MRA, MRV, SWI, QSM and R2*/T2* and when collected with multiple flip angles also provides T1 and spin density maps.
It has immediate applications to neurovascular disease diagnosis.
Our next steps are to incorporate the RICH MRI software directly into PRIDE on Philips scanners and OPEN RECON/FIRE eventually on Siemens scanners.